## Slide 1
UNIT 5009 / WEEK 02 / LO1
5 MIN
P2
Week 1 retrieval: requirement or assumption?
KEY IDEAS
Display five statements about MedPack; learners classify each as brief-stated, derived requirement, or unverified assumption.
Reuse the corrected application baseline, not an imagined specification.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Week 1 retrieval: requirement or assumption?
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
01 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 1 of 18 | Suggested time: 5 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Display five statements about MedPack; learners classify each as brief-stated, derived requirement, or unverified assumption. 2. Reuse the corrected application baseline, not an imagined specification. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Week 1 retrieval: requirement or assumption?. Show: Display five statements about MedPack; learners classify each as brief-stated, derived requirement, or unverified assumption. Reuse the corrected application baseline, not an imagined specification.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 2
UNIT 5009 / WEEK 02 / LO1
5 MIN
P2
Why PLCs come in different forms
KEY IDEAS
Ask why a small machine and a distributed process plant might need different controller architectures.
Introduce cost, I/O layout, expansion, performance, environment, lifecycle, and support as comparison dimensions.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Why PLCs come in different forms
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
02 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 2 of 18 | Suggested time: 5 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Ask why a small machine and a distributed process plant might need different controller architectures. 2. Introduce cost, I/O layout, expansion, performance, environment, lifecycle, and support as comparison dimensions. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Why PLCs come in different forms. Show: Ask why a small machine and a distributed process plant might need different controller architectures. Introduce cost, I/O layout, expansion, performance, environment, lifecycle, and support as comparison dimensions.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 3
UNIT 5009 / WEEK 02 / LO1
5 MIN
P2
LO1.P2 and the evidence standard
KEY IDEAS
State the requirement: compare at least three models/manufacturers using technical and practical evidence.
Explain exact model numbers and current official manuals matter more than brand-level claims.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / LO1.P2 and the evidence standard
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
03 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 3 of 18 | Suggested time: 5 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. State the requirement: compare at least three models/manufacturers using technical and practical evidence. 2. Explain exact model numbers and current official manuals matter more than brand-level claims. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about LO1.P2 and the evidence standard. Show: State the requirement: compare at least three models/manufacturers using technical and practical evidence. Explain exact model numbers and current official manuals matter more than brand-level claims.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 4
UNIT 5009 / WEEK 02 / LO1
12 MIN
P2
Compact and micro PLCs
KEY IDEAS
Cover integrated CPU and I/O, small footprint, typical machine-control uses, and limits on expansion or distributed architecture.
Compare what to verify: onboard I/O types, communication ports, expansion method, and programming environment.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Compact and micro PLCs
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
04 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 4 of 18 | Suggested time: 12 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Cover integrated CPU and I/O, small footprint, typical machine-control uses, and limits on expansion or distributed architecture. 2. Compare what to verify: onboard I/O types, communication ports, expansion method, and programming environment. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Compact and micro PLCs. Show: Cover integrated CPU and I/O, small footprint, typical machine-control uses, and limits on expansion or distributed architecture. Compare what to verify: onboard I/O types, communication ports, expansion method, and programming environment.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 5
UNIT 5009 / WEEK 02 / LO1
13 MIN
P2
Modular, rack-based PLCs, and PACs
KEY IDEAS
Explain CPU plus selectable modules, rack/backplane concepts, distributed I/O, redundancy/motion/process options where supported, and system growth.
Discuss engineering complexity, panel footprint, cost, and maintenance trade-offs.
Clarify that PAC/PLC categories overlap in vendor marketing and do not replace checking the actual feature set.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Modular, rack-based PLCs, and PACs
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
05 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 5 of 18 | Suggested time: 13 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Explain CPU plus selectable modules, rack/backplane concepts, distributed I/O, redundancy/motion/process options where supported, and system growth. 2. Discuss engineering complexity, panel footprint, cost, and maintenance trade-offs. 3. Clarify that PAC/PLC categories overlap in vendor marketing and do not replace checking the actual feature set. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Modular, rack-based PLCs, and PACs. Show: Explain CPU plus selectable modules, rack/backplane concepts, distributed I/O, redundancy/motion/process options where supported, and system growth. Discuss engineering complexity, panel footprint, cost, and maintenance trade-offs.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 6
UNIT 5009 / WEEK 02 / LO1
12 MIN
P2
Safety PLCs and safety systems
KEY IDEAS
Explain safety-rated controllers/modules and certified safety functions at a high level; distinguish ordinary process control from safety functions.
Compare safety relay and safety PLC architectures as design options, not as interchangeable by default.
Ask what risk assessment, required performance level, diagnostics, validation, and reset behaviour would need to be established.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Safety PLCs and safety systems
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
06 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 6 of 18 | Suggested time: 12 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Explain safety-rated controllers/modules and certified safety functions at a high level; distinguish ordinary process control from safety functions. 2. Compare safety relay and safety PLC architectures as design options, not as interchangeable by default. 3. Ask what risk assessment, required performance level, diagnostics, validation, and reset behaviour would need to be established. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Safety PLCs and safety systems. Show: Explain safety-rated controllers/modules and certified safety functions at a high level; distinguish ordinary process control from safety functions. Compare safety relay and safety PLC architectures as design options, not as interchangeable by default.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 7
UNIT 5009 / WEEK 02 / LO1
13 MIN
P2
Match PLC class to application
KEY IDEAS
Consider standalone packaging station, multi-station production line, remote pump station, and process skid.
Teams identify the likely controller class and the requirements that could change the answer.
Visual: application scale against I/O distribution, motion, and lifecycle needs.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Match PLC class to application
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
07 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 7 of 18 | Suggested time: 13 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Consider standalone packaging station, multi-station production line, remote pump station, and process skid. 2. Teams identify the likely controller class and the requirements that could change the answer. 3. Visual: application scale against I/O distribution, motion, and lifecycle needs. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Match PLC class to application. Show: Consider standalone packaging station, multi-station production line, remote pump station, and process skid. Teams identify the likely controller class and the requirements that could change the answer.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 8
UNIT 5009 / WEEK 02 / LO1
10 MIN
P2
Manufacturer landscape: research candidates
KEY IDEAS
Introduce example families as research starting points: Siemens SIMATIC S7-1200/S7-1500; Rockwell Automation Micro800/CompactLogix; Schneider Electric Modicon M221/M241; Mitsu...
Make clear exact family variants and availability differ by region and date; no family is selected in advance.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Manufacturer landscape: research candidates
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
08 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 8 of 18 | Suggested time: 10 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Introduce example families as research starting points: Siemens SIMATIC S7-1200/S7-1500; Rockwell Automation Micro800/CompactLogix; Schneider Electric Modicon M221/M241; Mitsubishi MELSEC FX; Omron CP/NX; AutomationDirect CLICK/Do-more. 2. Make clear exact family variants and availability differ by region and date; no family is selected in advance. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Manufacturer landscape: research candidates. Show: Introduce example families as research starting points: Siemens SIMATIC S7-1200/S7-1500; Rockwell Automation Micro800/CompactLogix; Schneider Electric Modicon M221/M241; Mitsubishi MELSEC FX; Omron CP/NX; AutomationDirect CLICK/Do-more. Make clear exact family variants and availability differ by region and.... Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 9
UNIT 5009 / WEEK 02 / LO1
15 MIN
P2
Programming and support ecosystems
KEY IDEAS
Compare programming tools, IEC 61131-3 language support where applicable, licensing, simulation, diagnostics, HMI integration, documentation, training, and local support.
Consider staff familiarity and maintainability without turning them into unsupported reliability claims.
Prompt: how can two technically similar PLCs have different lifecycle costs?
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Programming and support ecosystems
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
09 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 9 of 18 | Suggested time: 15 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Compare programming tools, IEC 61131-3 language support where applicable, licensing, simulation, diagnostics, HMI integration, documentation, training, and local support. 2. Consider staff familiarity and maintainability without turning them into unsupported reliability claims. 3. Prompt: how can two technically similar PLCs have different lifecycle costs? IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Programming and support ecosystems. Show: Compare programming tools, IEC 61131-3 language support where applicable, licensing, simulation, diagnostics, HMI integration, documentation, training, and local support. Consider staff familiarity and maintainability without turning them into unsupported reliability claims.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 10
UNIT 5009 / WEEK 02 / LO1
10 MIN
P2
Build a fair shortlist
KEY IDEAS
Select at least three models from different manufacturers in a comparable class.
Apply mandatory gates first: required I/O, electrical ratings, safety architecture, communications, environment, and supportability.
Use the Week 1 requirement list; do not shortlist based only on price or familiarity.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Build a fair shortlist
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
10 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 10 of 18 | Suggested time: 10 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Select at least three models from different manufacturers in a comparable class. 2. Apply mandatory gates first: required I/O, electrical ratings, safety architecture, communications, environment, and supportability. 3. Use the Week 1 requirement list; do not shortlist based only on price or familiarity. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Build a fair shortlist. Show: Select at least three models from different manufacturers in a comparable class. Apply mandatory gates first: required I/O, electrical ratings, safety architecture, communications, environment, and supportability.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 11
UNIT 5009 / WEEK 02 / LO1
10 MIN
P2
Find the exact hardware identity
KEY IDEAS
Read the CPU and I/O part number, suffixes, supply variant, output type, included ports, firmware, and document revision.
Explain why a product-family page is not enough to prove an individual CPU's capabilities.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Find the exact hardware identity
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
11 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 11 of 18 | Suggested time: 10 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Read the CPU and I/O part number, suffixes, supply variant, output type, included ports, firmware, and document revision. 2. Explain why a product-family page is not enough to prove an individual CPU's capabilities. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Find the exact hardware identity. Show: Read the CPU and I/O part number, suffixes, supply variant, output type, included ports, firmware, and document revision. Explain why a product-family page is not enough to prove an individual CPU's capabilities.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 12
UNIT 5009 / WEEK 02 / LO1
15 MIN
P2
Compare I/O, expansion, and communications
KEY IDEAS
Matrix fields: DI/DO count and type; relay outputs; analogue support; expansion modules; remote I/O; Ethernet/serial ports; supported protocols; maximum system size where spec...
Cite page/table for each number and mark unavailable information explicitly.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Compare I/O, expansion, and communications
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
12 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 12 of 18 | Suggested time: 15 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Matrix fields: DI/DO count and type; relay outputs; analogue support; expansion modules; remote I/O; Ethernet/serial ports; supported protocols; maximum system size where specified. 2. Cite page/table for each number and mark unavailable information explicitly. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Compare I/O, expansion, and communications. Show: Matrix fields: DI/DO count and type; relay outputs; analogue support; expansion modules; remote I/O; Ethernet/serial ports; supported protocols; maximum system size where specified. Cite page/table for each number and mark unavailable information explicitly.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 13
UNIT 5009 / WEEK 02 / LO1
10 MIN
P2
Compare performance and user-facing features
KEY IDEAS
Identify scan/performance information, high-speed counter inputs, memory, timers/counters, diagnostics, display/indicators, online monitoring, simulation, and engineering work...
Explain that scan-time claims need comparable conditions and may not predict complete application response.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Compare performance and user-facing features
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
13 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 13 of 18 | Suggested time: 10 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Identify scan/performance information, high-speed counter inputs, memory, timers/counters, diagnostics, display/indicators, online monitoring, simulation, and engineering workflow. 2. Explain that scan-time claims need comparable conditions and may not predict complete application response. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Compare performance and user-facing features. Show: Identify scan/performance information, high-speed counter inputs, memory, timers/counters, diagnostics, display/indicators, online monitoring, simulation, and engineering workflow. Explain that scan-time claims need comparable conditions and may not predict complete application response.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 14
UNIT 5009 / WEEK 02 / LO1
10 MIN
P2
Compare practical ownership factors
KEY IDEAS
Evaluate installation/wiring, terminal style, panel footprint, documentation, troubleshooting, vendor lifecycle notices, training, spare availability, and dated pricing.
Price source record: supplier, date, currency, included modules/software, and tax/shipping assumptions.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Compare practical ownership factors
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
14 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 14 of 18 | Suggested time: 10 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Evaluate installation/wiring, terminal style, panel footprint, documentation, troubleshooting, vendor lifecycle notices, training, spare availability, and dated pricing. 2. Price source record: supplier, date, currency, included modules/software, and tax/shipping assumptions. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Compare practical ownership factors. Show: Evaluate installation/wiring, terminal style, panel footprint, documentation, troubleshooting, vendor lifecycle notices, training, spare availability, and dated pricing. Price source record: supplier, date, currency, included modules/software, and tax/shipping assumptions.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 15
UNIT 5009 / WEEK 02 / LO1
20 MIN
P2
Three-manufacturer comparison sprint
KEY IDEAS
Teams populate a minimum comparison matrix for three exact models from separate manufacturers.
Required fields: I/O, relay outputs, expansion, programming, UI/diagnostics, reliability evidence, cost, and practical support.
If data is unavailable, record the gap and how it could be resolved; do not invent a value.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Three-manufacturer comparison sprint
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
15 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 15 of 18 | Suggested time: 20 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Teams populate a minimum comparison matrix for three exact models from separate manufacturers. 2. Required fields: I/O, relay outputs, expansion, programming, UI/diagnostics, reliability evidence, cost, and practical support. 3. If data is unavailable, record the gap and how it could be resolved; do not invent a value. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Three-manufacturer comparison sprint. Show: Teams populate a minimum comparison matrix for three exact models from separate manufacturers. Required fields: I/O, relay outputs, expansion, programming, UI/diagnostics, reliability evidence, cost, and practical support.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 16
UNIT 5009 / WEEK 02 / LO1
20 MIN
P2
Defend the quality of the comparison
KEY IDEAS
Teams swap matrices and check whether evidence is current, comparable, and application-related.
Each group explains one meaningful difference and one dimension that cannot yet be fairly compared.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Defend the quality of the comparison
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
16 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 16 of 18 | Suggested time: 20 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Teams swap matrices and check whether evidence is current, comparable, and application-related. 2. Each group explains one meaningful difference and one dimension that cannot yet be fairly compared. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Defend the quality of the comparison. Show: Teams swap matrices and check whether evidence is current, comparable, and application-related. Each group explains one meaningful difference and one dimension that cannot yet be fairly compared.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 17
UNIT 5009 / WEEK 02 / LO1
7 MIN
P2
P2 checklist: has a real comparison been made?
KEY IDEAS
Check three manufacturers/models, required technical attributes, practical factors, citations, and balanced discussion.
Point out unsupported labels such as "more reliable" or "best value" without a defined evidence basis.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / P2 checklist: has a real comparison been made?
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
17 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 17 of 18 | Suggested time: 7 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Check three manufacturers/models, required technical attributes, practical factors, citations, and balanced discussion. 2. Point out unsupported labels such as "more reliable" or "best value" without a defined evidence basis. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about P2 checklist: has a real comparison been made?. Show: Check three manufacturers/models, required technical attributes, practical factors, citations, and balanced discussion. Point out unsupported labels such as "more reliable" or "best value" without a defined evidence basis.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.

## Slide 18
UNIT 5009 / WEEK 02 / LO1
8 MIN
P2
Exit ticket: strongest differentiator and missing fact
KEY IDEAS
Name one candidate difference relevant to MedPack, cite its evidence, and identify one missing fact that could affect selection.
IMAGE PLACEHOLDER
ADD PHOTO OR DIAGRAM
Leave this area open for the final visual
VISUAL BRIEF / Exit ticket: strongest differentiator and missing fact
Full image-generation prompt is in this slide's speaker notes.
PLC TYPES, APPLICATIONS, AND MANUFACTURERS
18 / 18
Notes: PLC Types, Applications, and Manufacturers | Week 02 | LO1 Slide 18 of 18 | Suggested time: 8 minutes | Criteria: P2 TEACHING NOTES AND ACTIVITY CUES 1. Name one candidate difference relevant to MedPack, cite its evidence, and identify one missing fact that could affect selection. IMAGE PROMPT Create an original, technically plausible landscape visual for a vocational engineering presentation about Exit ticket: strongest differentiator and missing fact. Show: Name one candidate difference relevant to MedPack, cite its evidence, and identify one missing fact that could affect selection.. Use an editorial technical-illustration style with accurate industrial components, a clean pale background, and restrained navy, teal, and muted amber accents. Compose the subject clearly for a right-side image panel. Do not include text, labels, numbers, logos, watermarks, or branded equipment. IMAGE PLACEMENT Replace the labelled image placeholder on the right with the generated or selected visual. Keep the title and key ideas unobstructed.